## Configuration
scope | tag | type | parameter | value | data_type | source | line
Controller | M101 | Demo_Motor | Cfg_TripDelay | 2.5 | REAL | /RSLogix5000Content/Controller/Tags/Tag[1] | 7
Controller | M101 | Demo_Motor | Cfg_Tag | M101 | STRING | /RSLogix5000Content/Controller/Tags/Tag[1] | 7
Controller | M101 | Demo_Motor | Cfg_Label | Feed pump | STRING | /RSLogix5000Content/Controller/Tags/Tag[1] | 7
Controller | M101 | Demo_Motor | Cfg_Desc | Fictional feed pump | STRING | /RSLogix5000Content/Controller/Tags/Tag[1] | 7
Controller | M102 | Demo_Motor | Cfg_TripDelay | 2.5 | REAL | /RSLogix5000Content/Controller/Tags/Tag[2] | 7
Controller | M102 | Demo_Motor | Cfg_Tag | M102 | STRING | /RSLogix5000Content/Controller/Tags/Tag[2] | 7
Controller | M102 | Demo_Motor | Cfg_Label | Transfer pump | STRING | /RSLogix5000Content/Controller/Tags/Tag[2] | 7
Controller | M102 | Demo_Motor | Cfg_Desc | Fictional transfer pump | STRING | /RSLogix5000Content/Controller/Tags/Tag[2] | 7
Program:Packaging | M101 | Demo_Motor | Cfg_TripDelay | 2.5 | REAL | /RSLogix5000Content/Controller/Programs/Program/Tags/Tag[1] | 8
Program:Packaging | M101 | Demo_Motor | Cfg_Tag | M101 | STRING | /RSLogix5000Content/Controller/Programs/Program/Tags/Tag[1] | 8
Program:Packaging | M101 | Demo_Motor | Cfg_Label | Conveyor | STRING | /RSLogix5000Content/Controller/Programs/Program/Tags/Tag[1] | 8
Program:Packaging | M101 | Demo_Motor | Cfg_Desc | Fictional conveyor | STRING | /RSLogix5000Content/Controller/Programs/Program/Tags/Tag[1] | 8

## Exceptions
scope | tag | source | reason
Program:Packaging | SpareAlias | /RSLogix5000Content/Controller/Programs/Program/Tags/Tag[2] | Alias or array tag is outside this release's scalar-instance workflow.

## Read me
Landry Industrial / LogicLens
logiclens-assisted-20260925
Source SHA-256: 4dd8109c0e21a4934044e260433c2610f078c05a2eb2189b9eea5f6afa839cda
Configuration extraction only; not logic equivalence, validation, commissioning or a safety determination.
Scalar instances in controller and program scope. Arrays, aliases, protected content and nested structures require separate compatibility review.
L5K strings use AOI definition order. Verify representative values against the engineering export before delivery.
Rows identify the source tag and line; they do not represent logic rung references. No source file is copied into this delivery.